## Slide 1
TERMS AND CONDITIONS
These PowerPoint slides are a tool for lecturers, and as such:
YOU MAY add content to the slides, delete content from the slides, print out the slides, and save the slides onto your computer or server.
YOU MAY NOT resell, reproduce or redistribute the content in any form whatsoever, without prior written permission from the copyright holder.
© Troupant Publishers (Pty) Ltd, 2016
Selected images used under licence from Shutterstock.com

## Slide 2: Engineering Systems
NQF Level 2

## Slide 3: Equipment with simple control systems
Topic 2

## Slide 4: Identifying equipment with simple control systems
Module 11

## Slide 5: Equipment with simple control systems
Unit 11.1

## Slide 6: Defining a control system
Figure 11.1 Process to be controlled

## Slide 7: Defining a control system
Figure 11.2 A basic circuit with a lamp

## Slide 8: Defining a control system
Figure 11.3 Circuit diagram of a lamp controlled by a switch

## Slide 9: Terms used in control systems
Process.
Controller.
Input.
Output.

## Slide 10: Terms used in control systems
Figure 11.4 A block diagram of a simple control system

## Slide 11: Components of control systems
Transducers.
Actuators.
Sensors.
Relays.

## Slide 12: Components of control systems
Transducers
A device that converts one type of energy to another.
Can be to or from electrical, electro-mechanical, electromagnetic or any other form of energy.

## Slide 13: Components of control systems
Transducers
Figure 11.5 A thermocouple

## Slide 14: Components of control systems
Figure 11.6 A rotary potentiometer
Figure 11.7 A stepper motor
Transducers

## Slide 15: Components of control systems
Actuators
A mechanical device that moves or controls a mechanism or system.
Examples are:
  Electrical motors.
  Pneumatic actuators.
  Hydraulic pistons.
  Relays.

## Slide 16
Figure 11.8 An electrical motor
Figure 11.9 A pneumatic actuator
Components of control systems
Actuators

## Slide 17: Components of control systems
Figure 11.10 A hydraulic piston
Figure 11.11 A relay
Actuators

## Slide 18: Components of control systems
Sensors
A device that measures a physical quantity and converts it into a signal that can be read by an observer or an instrument.
Examples are:
  Mercury thermometer.
  Thermocouple.

## Slide 19
Physical quantity | Type of sensor
Angular position | Resistive rotary position sensor
Angular velocity | Tachogenerator
Flow | Flow sensor
Linear position | Linear variable differential transformer (LVDT)
Light level | Photocell Light-dependent resistor (LDR) Photo diode Photo transistor
Liquid level | Float level switch
Proximity | Reed switch
Temperature | Thermocouple and Thermistor
Components of control systems
Table 11.3 Examples of sensors

## Slide 20: Components of control systems
Figure 11.13 A light-dependent resistor (LDR)
Sensors

## Slide 21: Components of control systems
Figure 11.14 A photo diode
Sensors

## Slide 22: Components of control systems
Figure 11.15 A float level switch
Sensors

## Slide 23: Components of control systems
Figure 11.16 A reed switch
Sensors

## Slide 24: Components of control systems
Figure 11.17 A thermistor
Sensors

## Slide 25: Components of control systems
Figure 11.18 Relays used in the automation industry
Relays

## Slide 26: Functions of a control system
The four main functions:
Measurement.
Comparison.
Computation.
Correction.

## Slide 27: Applications of control systems
To regulate the speed of an electric motor.
To regulate the speed or position of a linear actuator in robotics.
To monitor the temperature of a furnace.
To monitor the pressure of a vessel, for example a steam boiler.
To monitor the flow of liquids or gases, for example the steam flow to a turbine.
To start or stop machines.
To detect errors in the system and sound an early-warning signal.

## Slide 28: Applications of control systems
Figure 11.19 A robotic arm

## Slide 29: Open- and closed-loop systems
Open-loop systems
A system in which the output is dependent on the input.

## Slide 30: Open- and closed-loop systems
Open-loop systems
Figure 11.20 An open-loop system

## Slide 31: Advantages and disadvantages of an open-loop system
Advantages | Disadvantages
They are simple in construction. | The system is inaccurate and unreliable.
They are convenient when output is difficult to measure. | A change in the external environment will produce inaccurate results.
They are easy to maintain. | The controller needs to be recalibrated regularly.
Advantages and disadvantages of an open-loop system

## Slide 32: Examples of open-loop systems
Traffic lights.
An automatic door.
This circuit:
Figure 11.3 Circuit diagram of a lamp controlled by a switch

## Slide 33: Open- and closed-loop systems
Closed-loop systems
A system in which the controlling action or input is dependent on the output. Such a system uses feedback.

## Slide 34: Open- and closed-loop systems
Closed-loop systems
Figure 11.21 A closed-loop system

## Slide 35: Advantages and disadvantages of a closed-loop system
Advantages | Disadvantages
It is extremely accurate. | It is a complex system.
It adjusts automatically to environmental changes. | Due to feedback, the system may cause oscillation.
Advantages and disadvantages of a closed-loop system

## Slide 36: Examples of closed-loop systems
Figure 11.22 An electric oven

## Slide 37: Examples of closed-loop systems
Figure 11.23 The cruise control of a car

## Slide 38: Multivariable control systems
Most of the time a system does not control only one signal at a time, but many signals.
As a system becomes more complex, the interrelationship of many controlled variables must be considered.

## Slide 39: Multivariable control systems
Figure 11.24 A multivariable control system

## Slide 40: Computer control systems
Computer control systems are used to improve the use of energy and minimise waste emissions.
Used to coordinate the control of >100 variables in a large factory.

## Slide 41: Computer control systems
Figure 11.25 A computer control system

## Slide 42: Programmable logic controllers (PLCs)
A PLC is a computer used for the automation of electromechanical processes.
For example, control of machinery in factory assembly lines.

## Slide 43: Programmable logic controllers (PLCs)
Figure 11.26 A programmable logic controller (PLC)

## Slide 44: Components of a PLC
The five basic components:
Central processing unit (CPU) or processor unit.
Programming device.
Memory unit.
Input and output devices.
Power supply.

## Slide 45: Components of a PLC
Figure 11.27 Block diagram of a PLC

## Slide 46: Components of a PLC
Input devices:
Switches (mechanical or magnetic).
Photoelectric sensors.
Encoders.
Temperature sensors.
Strain gauges.
Pressure sensors.
Keypads.
Limit switches.

## Slide 47: Components of a PLC
Figure 11.28 Input devices
Input devices:

## Slide 48: Components of a PLC
Figure 11.29 Output devices
Output devices:

## Slide 49: Pneumatic control circuits
The signal flow is from the energy source to the power section (the final control system and the actuator.
The final control element receives control signals from the signal processor.
The signal processor processes information sent from the input devices or sensors.

## Slide 50: Pneumatic control circuits
Figure 11.30 Circuit diagram of a pneumatic control circuit

## Slide 51: Pneumatic control circuits
Figure 11.31 A sequence circuit (cylinders extend in succession)

## Slide 52: Hydraulic control circuits
Open-loop hydraulic system – hydraulic fluid is returned into a large, unpressurised tank at the end of the cycle.
Closed-loop hydraulic circuit – hydraulic fluid stays in one closed pressurised loop without returning to the main tank after each cycle.

## Slide 53: Hydraulic control circuits
Figure 11.32 An open-loop hydraulic circuit

## Slide 54: Hydraulic control circuits
Figure 11.33 A closed-loop hydraulic circuit

## Slide 55: Hydraulic valves
Usually heavy duty to withstand high pressure.
Some can control direction of flow of fluid and act as a control unit for a system.

## Slide 56: Hydraulic valves
Classification of valves based on function:
Pressure control valves.
Flow control valves.
Direction control valves.

## Slide 57: VIDEO: Relief valve

## Slide 58: Hydraulic valves
Classification of valves based on method of activation:
Directly operated valves.
Pilot operated valves.
Manually operated valves.
Electrically actuated valves.
Open control valves.

## Slide 59: Gauges
Gauges are used as measuring instruments.
Information from the gauges is fed back into the control system, or can be monitored by the user, or both.

## Slide 60: Gauges
Figure 11.34 A pressure gauge
Figure 11.35 A temperature gauge

## Slide 61: VIDEO: Relief settings

## Slide 62: Summative assessment
Test your knowledge of this section by completing the Summative assessment (page 187 of your Student’s Book)